## Slide 1: ForceMoCap (FMC) System
Introduction and Evaluation

## Slide 2: ForceMoCap (FMC) Gloves
Vive Motion Capture Marker
Side View
Front View
StretchSense Glove
Insulated Circuit Board
Finger Force Sensor
Bottom View
Palm Force Sensor

## Slide 3: Study 1: Single 6-DOF joint

## Slide 4: Overall Protocol
  Physical Human-Environment Interaction is measured and evaluated in two sub-experiments
    Exp 1a: Normal Force Dynamics (6 Exercises)
    Exp 1b: Grasp Dynamics (10 Exercises)

## Slide 5: Overall Protocol
  For each exercise
  Participants will apply and maintain 1 level of force / moment for 7 seconds each with a 3-second rest interval.
  Participants will repeat this level of force for 3 repetitions
  Each exercise will have 4 levels of wrenches
    Force Magnitude: 5N, 10N, 15N, 20N
    Moment Magnitude: 0.5Nm, 1.0Nm, 1.5Nm, 2.0Nm
    Visual feedback will be given to regulate applied wrenches
Maintain
5 seconds
Rest
3 seconds
Rest
3 seconds
Apply Lvl N Wrench
2 seconds
Maintain
5 seconds
Rest
3 seconds
Apply Lvl N Wrench
2 seconds
Maintain
5 seconds
Apply Lvl N Wrench
2 seconds
Level N completed

## Slide 6: Exp 1a: Normal Force Dynamics
Type 1: Fingers Force
Finger Force Sensor

## Slide 7: Exp 1a: Normal Force Dynamics
Type 1: Fingers Force
Y
X
X-force LH: +ve
RH: -ve
Face
Face
Face
Y-force LH: -ve
RH: -ve
XY-force LH: +ve X –ve Y
RH:-ve X –ve Y

## Slide 8: Exp 1a: Normal Force Dynamics
Type 2: Palm Force
Palm Force Sensor

## Slide 9: Exp 1a: Normal Force Dynamics
Type 2: Palm Force
Y
X
Face
Face
Face
X-force LH: +ve
RH: -ve
Y-force LH: -ve
RH: -ve
XY-force LH: +ve X –ve Y
RH:-ve X –ve Y

## Slide 10: Exp 1b: Grasp Dynamics
Type 1: Finger Grasp

## Slide 11: Exp 1b: Grasp Dynamics
Type 1: Finger Grasp
Massage
Z axis push
Y
X
Z
Y
Face
Face

## Slide 12: Exp 1b: Grasp Dynamics
Type 1: Finger Grasp
X-axis twist
LH : +ve RH: +ve
Y-axis twist
LH : +ve RH: -ve
Z-axis twist
LH : -ve RH: +ve
Y
X
Z
Y
Face
Face
Face

## Slide 13: Exp 1b: Grasp Dynamics
Type 2: Power Grasp

## Slide 14: Exp 1b: Grasp Dynamics
Type 1: Power Grasp
Massage
Z axis lift / push
Y
X
Direction of force
Z
Y
Direction of force
Face
Face

## Slide 15: Exp 1b: Grasp Dynamics
Type 1: Power Grasp
Face
Face
Face
Y
X
Z
Y
X-axis twist
LH : +ve RH: +ve
Y-axis twist
LH : +ve RH: -ve
Z-axis twist
LH : -ve RH: +ve